Certificate Number

Description

Make		Wasco

Model		Legacy Teststand

Serial Number

Asset ID

Range

Accuracy	0.25%FS

Received Condition	In Specification

Returned Condition	In Specification

Calibrated By

Calibration Procedure	CAL 04 Rev 000

Calibration Conditions

Calibration Date

Calibration Cycle	12 Months

Calibration Due

Measurement Standard(s) used in Calibration

| Asset ID | Description | Model Number | Serial Number | Trace Number | Calibration Due |
| --- | --- | --- | --- | --- | --- |
| 5013 | Mensor Pressure Controller | CPC 6000 | 612512 |  |  |
| 0078 | Environmental Monitor | OM-WL-WIFI-TH-PLUS | 98:88:AD:00:38:B1 |  |  |

The standards that have been utilized in this calibration are traceable to SI units of measurement through the National Institute of Standards and Technology (NIST).

Calibration Results

| Target Pressure (InHg) | Reference Value (InHg) | Measured Value (InHg) | Deviation (InHg) | Deviation (%FS) |
| --- | --- | --- | --- | --- |
| 0 |  |  |  |  |
| 5 |  |  |  |  |
| 10 |  |  |  |  |
| 15 |  |  |  |  |
| 20 |  |  |  |  |
| 25 |  |  |  |  |
| 29.5 |  |  |  |  |

Brent Kaleb Baker, Quality Manager:  _______________________________________________       Date:  ______________________